# 5. Lighting

Lead: Julian Kotara

Assist: Mary Grace Lehmkuhl

## 5.1 Executive Summary

The Student Involvement Center (STIC) sits in the corner of CU Boulder’s campus and provides the campus with classroom space, student collaboration areas, and grad offices. The building is an opportunity for CU Boulder to explore the interconnectedness of its natural surroundings and the focused, academic nature of the campus through inspiring architectural and lighting concepts.

The architectural and lighting concepts intersect to encourage a welcoming atmosphere for all students and promote interdisciplinary collaboration. The tree-inspired architectural concept separates floors into the trunk, canopy, and perch, creating different atmospheres on each floor and space, and their intended use.

With the lighting concept, the building is transformed into a glowing core that grounds campus. Through the use of indirect and up lighting, structural and architectural elements will create a glowing ambiance, inviting students into the building and giving them a warm, enlightened space to learn and communicate with their peers.

The implementation of the design will focus on creating a tangible and cohesive design that provides comfortable and functional light to the occupants. By controlling daylight and reducing the lighting power density, the implementation of the design provides energy benefits to the space, reducing its impact on the environment.

## 5.2 Programming

Within the STIC, each floor plays a different role in creating community and learning environments to cater to the different users occupying the building. These differing roles require unique lighting solutions to enhance the architecture and usability of each space.

### 5.2.1 First Floor

The first floor houses the majority of the classrooms along with two main entrances leading to a two-floor atrium. These contrasting elements are connected by long hallways, which will act as the link between the two. The atrium will be open, light, and inviting through the combination of indirect electric light and ambient daylighting illuminating a wood cross-laminated timber ceiling, tree columns with a wooden appearance, and light polished concrete.

The classroom will consist of an ambient layer of tiered cove lighting and supplemental downlighting for table task surfaces. With the high illuminance and uniformity ratios required for classrooms, a pragmatic lighting solution is preferred to avoid distraction for students and professors.

The connection between these two areas consists of two long hallways. A dropped wooden slat ceiling disguises the MEP systems above and allows for irregularly placed linear luminaires, evoking the idea of sunlight filtering through the layers of branches and floors above.

### 5.2.2 Second Floor

The second floor acts as the backbone for community integration and social interaction. The large open atrium is flanked by catwalks with seating for studying. The south wing contains two additional collaborative classrooms, while the west wing contains a café and an exit to the exterior terrace. This floor has increased energy, volume, and circulation, requiring a more vibrant lighting solution. Utilizing the cross-laminated timber ceiling and tree columns as indirect light sources, the second floor will glow from the inside to create a glowing core for occupants and passersby.

### 5.2.3 Third Floor

The third floor supports graduate student offices and conference rooms, creating a priority for engaged work and quiet discussion. The carpeted floors and timber ceilings soften the space both visually and acoustically. With soft, indirect lighting in the office space and smooth cove lighting for conference rooms, the lighting should fade into the architecture and almost disappear to the users. Additional task lighting will be provided for work surfaces to ensure adequate and controllable lighting for users.

## 5.3 Design Criteria

To implement the lighting concept successfully, it is imperative to adhere to design codes and standards produced by the University of Colorado Boulder and the Illuminating Engineering Society (IES). The lighting criteria are based on the following standards for general and educational lighting applications:

- IES Handbook, 10th Edition:

  - Components of Lighting Design

  - Lighting for Common Applications

  - Lighting for Exteriors

  - Lighting for Emergency, Safety, and Security

- CU Faculty Standards (D5020)

- WELL Building Standards (v2, Q2 2025), Light

- ANSI/ASHRAE/IES 90.1-2022, Section 9 – Lighting only

- LEED v5

### 5.3.1 Lighting Power Allowance

In conjunction with the electrical team, the lighting power allowance (LPA) for our building was calculated to better understand the density of light that can be used. Using ASHRAE IES 90.1, the LPA was calculated by using both the Space-by-Space method and the Building Area Method. The Building Area Method 0.7W/ft2 was larger than the Space-by-Space method for interior spaces, which was calculated to be 0.6W/ft2. Exterior space wattage allowances were calculated using the individual Exterior lighting power densities provided by ASHRAE Table 9.4.2-2. Combining the interior and exterior values, our total site LPA is 0.77W/ft2. The full calculations can be found in Appendix L.1.

### 5.3.2 Illuminance Values and Ratios

Using the IES Handbook, 10th Edition, illuminance values and ratios were found for each space type present in the building. These values will be used to evaluate lighting layouts in the future to ensure occupant safety and comfort. Most values range between 10 footcandles to 30 footcandles, with illuminance ratios of average illuminance to minimum illuminance often 2:1. Appendix L.2 contains a table of illuminance values and ratios along with each space type category.

### 5.3.3 Other Standards

Other standards being used to guide the lighting design include LEED v5, WELL Building Standard, and the CU Facility Standards. LEED focuses on the limitation of glare and light trespass on a site. WELL focuses on occupant health and comfort through daylight access and control, luminaire layout, and lighting control systems. The CU Facility Standards set requirements on interior luminaire color temperature and CRI, as well as recommended practices for classroom and office spaces. Specific notes for all three standards can be found in Appendix L.3

## 5.4 Daylighting Considerations

Daylight and sunlight are important elements of lighting to consider and control to ensure a comfortable environment for a building's occupants. To better grasp the effects direct sunlight and daylight would have on our spaces, daylighting simulations were run on the lobby and southern classrooms across the following specified dates: April 21st and September 21st at 9:00 AM, 2:00 PM, and 6:00 PM, along with December 21st at 9:00 AM and 2:00PM.

### 5.4.1 Lobby Daylighting Analysis

The two floor lobby space poses a challenge for electric lighting, so the use of daylighting is imperative to reduce energy costs and create a central space connected to the outdoors. Seen in the lighting boards below and Appendix L.4, the pseudo color plan views of the second-floor lobby space give a snapshot of how the sunlight will evolve through the day and the seasons. In the mornings, sunlight will illuminate the North-East entrance of the building with illuminances levels upwards of 500 footcandles on the floor, with a more noticeable effect closer to the equinoxes. Into the afternoon, strong light illuminates the first-floor entrance area and second floor circulation area with illuminances levels upwards of 1100 footcandles. This level of light would cause discomfort to those working at the window seats or exiting the South-West entrance.

Daylight and direct sunlight control will be necessary to create a more balanced daylight environment and ensure occupants can work and converse comfortably during the day. Our architectural design already includes thin, angled, vertical louvers to provide texture across the building and larger horizontal louvers specifically for windows. By more closely analyzing the solar elevator and azimuth during the offending times, morning for the East facade and afternoon for the West facade, these louvers can be designed to mitigate both direct sunlight and solar heat gain. This would be done by altering the length of the fins, their spacing from each other, and the angle they are mounted on the building. As the lobby includes transition spaces and short-term seating, the sensitivity to light is lower than it would be in classrooms due to the occupant's ability to easily move if they happen to be uncomfortable. The lower sensitivity work is beneficial as it allows the views out towards the Flatirons to be better balanced with daylight mitigation. Additionally, darker glazing with visible light transmission levels of 25% or less can be placed on the windows to reduce the strength of lighting entering the space while still allowing vision out of the building.

### 5.4.2 Southern Classroom Analysis

The four classrooms at the southern end of the building provide two separate cases of daylight situations. The eastern classrooms will primarily receive light in the mornings when solar heat gain can be beneficial to energy savings. The light will penetrate to the back wall in the early mornings and will illuminate the floor with up to 1000 footcandles. This high light level is unacceptable to have reaching a writing work surface, especially with computer screens and tablets being commonplace in the classroom, and will need to be mitigated for students with classes in the morning. Additionally, the windows only exist in part of the room, so light entering the space should be diffused to avoid high contrast levels of sunlight.

On the western side, both classrooms have south and west facing windows. As students will likely be orientated away from the window, direct sunlight mitigation will be important to avoid glare on electronic devices being used in the classroom. In the afternoon, sun will streak across a majority of the classroom before the sun sets behind the Flatirons, illuminating the ground with up to 1250 footcandles.

For these classrooms, there are three solutions that could be useful to control sunlight throughout the day. On the first-floor eastern classroom, the windows should likely be treated with a low visible light transmittance film to reduce light and heat gain in the space without placing louvers by a high exterior circulation area. This can also be applied to the tall and thin windows in the classrooms, as the offending zone of light will affect only a few students at a time and only for a short period. For the larger, south facing windows on both second level classrooms, a combination of vertical and horizontal louvers, following the same style as the lobby, can be implemented to block light before it enters the space. The western facing windows provide an excellent opportunity to utilize light shelves to move daylight further into the space, reducing electric lighting needs and evening out the distribution of light in the space. This will be combined with horizontal louvers over the vison glass section to reduce direct sunlight glare onto students in the afternoon.

### 5.4.3 Overall Daylight Approach

Given the vertical and horizontal architectural elements present in our design, the first step to daylight mitigation will be through the use of these elements to create a seamless daylighting strategy across the building. In places where this strategy is not as effective, lower transmission glass and light shelves will be used to aid in the distribution and control of light into their respective spaces. Additionally, it is likely most classroom windows and large public windows will include interior shades that can be controlled manually by building maintenance or occupants depending on the space. This will hopefully be a last resort but is likely necessary to allow occupants to customize their space to their needs and comfort levels.

## 5.5 Power Density Compliance

Using our luminaire schedule, a rough system of wattage was calculated to understand where changes could be made to ensure code compliance with the buildings' lighting power allowance (LPA). Appendix L.1 details the lighting power distribution throughout the building, with the calculated LPA totaling 0.77 watts per square foot. In the luminaire schedule in Appendix L.5, the total system of wattage was found to be just under 21000 watts, leading the watts per square foot of the building to be 0.72 W/sqft, 0.05 W/sqft less than code requires. This value can certainly be lowered further to reduce energy usage through the elimination or re-specification of higher wattage fixtures such as D1/D1A and L2.

## 5.6 Light Boards

To better showcase the lighting concept and implementation, 11”x17” boards are used below.

## 5.7 Concept Integrity

The lighting concept has stayed relatively intact through the specification of luminaires. Many spaces are softly up-lit through the use of indirect pendants or coves, creating a light and airy interior space glows from the ceiling down. The implementation of low glare downlight fixtures placed in acoustic systems gives spaces the functional light they require while continuing the illusion of light appearing from the ceiling and being the main source of illumination. Unfortunately, the goal to up-light the lobby ceiling will likely need to change as structural elements have grown in size, creating a dense canopy that obscures sections of the ceiling. This will likely transition the concept of the lobby to focus more on the structural members as architectural highlights of the space, and there will be less emphasis on a glowing ceiling.

## 5.8 Conclusion

By considering the lighting concepts integration of the architectural concept, as well as the lighting codes and standards presented above, occupants will be able to enjoy a safe, usable, and comfortable space to learn, socialize, and work in. The implementation of the concept has molded the concept and the space together, requiring execution of the lighting design to finalize the space.

Appendix L.2

Illuminance Values and Ratios

| Space | Area/Task | Veiling Risk | Cat | Fc | Ratio | Cat | Fc | Ratio |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Classroom | Area | L | Q | 40@2.5 | 2:1 | N | 15@4 | 2:1 |
| Lecture Hall | Area |  | K | 5@2.5 | 2:1 | G | 1.5@4 | 2:1 |
| Study area | Area | M | P | 30@TS | 3:1 | M | 10@TS | 3:1 |
| Meeting (Discourse) | Area |  | P | 30@2.5 |  | M | 10@TS |  |
| Meeting (Presentation Surface) | T |  | Q | 40@2.5 |  | N | 15@4 |  |
| Dining Area | A |  | M | 10@2.5 | 3:1 | I | 3@4 | 3:1 |
| Food Prep | T |  | P | 30@2.5 |  |  |  |  |
| Kitchenette | T |  | O | 20@TS |  | L | 7.5@TS |  |
| Desktop Computers | T |  | N | 15@TS | 2:1 |  |  |  |
| Ipad | T | H | N | 15@TS | 2:1 | K | 5@TS | 2:1 |
| Handwritten | T | M | P | 30@2.5 |  | P | 30@4 |  |
| White Board | T | H | P | 30@3 |  | O | 20@5 | 2:1 |
| Restroom | A |  | K | 5@0 | 3:1 | I | 3@3.5 | 2:1 |
| Hallways | A |  | K | 5@0 | 3:1 | I | 3@3.5 | 2:1 |
| Elevator (inside) | T |  | K | 5@0 | 2:1 | H | 2@5 | 2:1 |
| Elevator (threshold) | T |  | M | 10@0 | 2:1 |  |  |  |
| Stairs | A |  | M | 10@0 | 2:1 | K | 5@5 | 2:1 |
| Reception Desk | T |  | N | 15@3.5 | 4:1 | H | 2@3.5 | 4:1 |
| Lobby | A |  | M | 10@2.5 | 3:1 | K | 5@2.5 | 3:1 |
| Entry (Day) | A |  | N | 15@0 | 4:1 | L | 7.5@5 | 4:1 |
| Entry (Night) | A |  | J | 4@0 | 4:1 | H | 2@5 | 4:1 |

Categories

| Category | Fc |
| --- | --- |
| G | 1.5 |
| H | 2 |
| I | 3 |
| J | 4 |
| K | 5 |
| L | 7.5 |
| M | 10 |
| N | 15 |
| O | 20 |
| P | 30 |
| Q | 40 |

Appendix L.3

LEED Gold requirements

Light Pollution Reduction (1 point)

- Uplight

  - U3 uplight rating for LZ3

- Light Trespass

  - B1-B5 backlight ratings (depending on distance to lighting boundary)

  - G0-G3 glare ratings (depending on distance to lighting boundary)

- Internally Illuminated Exterior Signage

  - 200 cd/m^2 max

- Exemptions

  - Solely facade and landscape lighting in LZ3 (auto off from midnight to 6 am)

WELL Building Light Standards

Light Exposure:

Option 2: Interior Layout (a or b)

- At least 30% of regularly occupied area is within 20ft of glazing

- Common spaces have unassigned seating and can accommodate 15% of regular occupants. 70% of all seating in the spaces is within 16ft of glazing

Visual Lighting Design:

Option 2: Predetermined light levels (a, b, and c)

- More than 50% of occupants are under the age of 65

- Area of outdoor space within project boundary is less than 5% of interior project area

- 90% of interior project area is offices/classrooms (30fc at TS), circulation/storage (10fc at floor), lounges/dining (10fc at TS)

Circadian Lighting Design

Tier 1: 136 Melanopic EDI

Glare Control

Option 2: Space Consideration

- Regularly occupied spaces must have luminaires must have UGR of 19 or lower

Daylight Design

Part 1:

Tier 1: 70% of all workstations are within 25ft of envelope glazing (VLT >70%) or envelope glazing is no less than 15% of regularly occupied floor area (VLT <40%)

Part 2:

Tier 1: Manual Shading controllable by occupants at all times

Tier 2: Automated shading to prevent glare’

Daylight Simulation:

Tier 1: sDA300,50% >55% or 28fc is achieved for >50% of spaces throughout 50% of the year

Visual Balance:

Option 2:

Taken in account the following...

- luminance rations on vertical and horizontal adjacent zones

- Illuminance uniformity on horizontal TS

- Changes in lighting characteristics (light levels, color, distribution)

- CCT

Electric Light Quality:

Part 1:

- CRI >= 90

Part 2:

- Recommended practices 1,2, or 3 defined by IEEE standard 1789-2015 LED (anti-flicker)

Occupant Lighting Control

Part 1:

- One zone per 650sqft or per 10 occupants

  - Controls have at least three lighting levels/scenes

  - Can change one of the following (color, CCT, distribution)

  - Occupants have control over immediate lighting environment (manual control, digital interface on computer of phone)

  - Lighting for presentation or projection wall separately controlled

Part 2:

- Supplemental light fixtures (task lights) provided upon request

- Supplemental light fixtures controllable by occupants, light is adjustable, lighting elements not visible

CU Facilities Standards (D5020)

- Classroom/Auditoria

  - 3500K or less, 1% 3 way dimming or front/back zones

  - Dedicated light for boards and projectors (C1021)

  - When student zone is on (30-40fc) no more than (3-5fc) should fall on the screen (Appendix A0021.3)

- Offices

  - 3500K or less, no acrylic or plastic lenses, standard luminaire is direct/indirect

  - Task lighting at desks encouraged

- Exterior

  - Quality over quantity

  - Provide glare control and proper brightness

  - 8:1 uniformity

  - Light exterior facades

  - Photocell for dusk-to-dawn operation

  - Must meet full cutoff IESNA Classification

  - No step lights

  - Standard Pole (CREE Edge)

  - 16-20' poles for large plaza

  - 12-15- for pedestrian lighting

  - Bollards, direct burial, ground mounted floods are discouraged

| Location | Min Fc | Uniformity |
| --- | --- | --- |
| Sidewalks along major streets | 0.6 | 5:1 |
| Nodes | 0.4-1.8 | 4:1 |
| Primary Pathways | 0.5 | 5:1 |
| Secondary Pathways | 0.2 | 5:1 |
| Tertiary Pathways | 0.2 | 10:1 |

- Interior

  - LED requirements

    - CRI 80+

    - 2700K to 3500K

    - 50,000+ hrs L70

    - For lamps > 5W, pf>=.7

  - Emergency

    - Exit signs must be green letters on white (e^3 lighting Isolite LPDC series)

    - Egress lighting (DualLite EV series)